## Slide 1
Bench Test Methods for Whole Slide Imaging Viewer Software
Authors go Here
Organizations
A whole slide imaging (WSI) system used in digital pathology consists of the scanner, image viewer, and display components. Recently, some independent image viewers were submitted by third-party companies to replace the factory image viewer component used in the predicate device. To demonstrate substantial equivalence between the former and the latter, sponsors were expected to provide bench testing data for review. However, the sponsors frequently did not test their image viewers adequately for image quality. In this study, a software program, the Image Viewer Integrity Evaluation System (IVIES) was developed to compare two image viewers on the pixel level and report any measured color differences. Four freely available image viewers were inspected with the test method. The results show that some of the viewers rendered the whole slide images differently compared with the factory image viewer, especially when the CIELAB color profile was in use.
ABSTRACT
Placeholder
BACKGROUND
METHODS
Placeholder
RESEARCH QUESTION
Placeholder
RESULTS
Placeholder
CONCLUSION
Placeholder
REFERENCES
Placeholder
ACKNOWLEDGEMENTS